## Slide 1: 4. Tools for Solar Observations-II Spectrographs. Measurements of the line shift.

## Slide 2
a(sina+sinb)
grating constant

## Slide 4
Echelle spectrometer
The first standard grating is optimized for a single lower order. The echelle is mounted orthogonally in such a way that the highly illuminated orders of the echelle are transversally separated. Different parts of the spectrum are recorded simultaneously.
Echelle grating

## Slide 5: Littrow spectrograph
In the Littrow system, a single lens perform functions of both collimator and camera

## Slide 6: Spectroheliograph

## Slide 7
Spectrohelioscope.org

## Slide 8
Entrance slit
Diffraction grating
Heliostat mirror
5” telescope mirror provides 1” disk image
on the entrance slit

## Slide 9
Examples of Spectrohelioscope observations
l
x

## Slide 10: The Interface Region Imaging Spectrograph (IRIS)
IRIS observes UV spectra of the chromosphere-corona transition region: 19 cm telescope, spatial resolution 0.33 arcsec, field of view 175x175 acrsec2

## Slide 11: IRIS spectrograph
The instrument simultaneously obtains spectra and slit-jaw images (images reflected from the spectrograph slit) in the Near-UV and Far-UV spectral intervals.
The Czerny-Turner design separates collimator and camera mirrors.

## Slide 12: IRIS observations on 08/21/18-09/14/18
This Mg II k (279.6 nm) slit-jaw movie shows NOAA AR 12719 making its way across the disk, starting three days after the region had emerged. While active at first, the active region seems to be decaying in the first half of the movie, but then magnetic fields suddenly start emerging bringing new life to the scene. The heating that is released while the magnetic fields reconfigure leads to short-lived brightenings, both compact and in more elongated filamentary structures, as the two opposite polarity pores (dark, roundish spots) move apart. Eventually the build up of magnetic potential energy is sufficient to be released in a minor flare visible towards the end of the movie.

## Slide 13: C2.7 flare of 05/28/18 observed by IRIS
The C2.7 flare is prominently visible in the C II slit-jaw movie in the top right, shooting out material that later falls back to the surface again along arched trajectories, both towards the leading part of the active region on the right and the trailing part on the left, where the flare occurred. The IRIS slit crosses the flare exactly as it goes off, catching the strong broadening and enhancement of all the major lines (C II, Si IV and Mg II h & k), as well as the usually weaker lines (like O I and C I) that IRIS routinely observes.

## Slide 15
Fourier Transform Spectrometer
x1
x2

## Slide 16
An incident beam is multiply reflected between the two parallel surfaces, but with each reflection a fraction R of the intensity is reflected and a fraction T is transmitted, and all these transmitted fractions interfere in the outgoing beam.
If the angle of incidence is θ, the layer thickness is d, the refraction index is n, then the path difference between two successive beam fractions is Δ = 2nd cosθ, and the phase difference is δ = 2πΔ/λ = 4πnd (cosθ)/λ .
For an incoming wave of form exp(iωt) the transmitted and reflected (absolute) wave amplitudes are T1/2 and R1/2, respectively; thus, counting all the reflections and the phase differences, the outgoing wave is a geometric series:
Aeiωt = Teiωt + TRei(ωt+δ) + TR2ei(ωt+2δ) + . . .
A= T(1 + Reiδ + R2e2iδ + . . . ) = T/(1 − Reiδ)
Fabry-Perot interferometer (etalon)

## Slide 17
The transmission is periodic; the mth maximum is at δ = 2mπ or λ = 2nd cosθ/m.
The distance between the peaks (Free Spectral Range) is FRS=λ/m =λ2/2ndcosθ Full-width at half maximum (FWHM), Dl, depends on the reflectance R:
The ratio, FRS/Dl is called finesse.
For λ=500nm, d=1mm, FRS=0.13nm small.
Thus, Fabry-Perot etalons are used in combination with other filters.
Fabry-Perot interferometer (etalon)
R=0.9
R=0.7
Dl
FRS (free spectral range)

## Slide 18
Ordinary ray
Extraordinary ray
does not obey Snell’s law,
can be faster or slower than the o-ray.
Optical axis
CaCO3

## Slide 19
e
Calculate the phase difference between
ordinary and extraordinary rays:
no=1.6584
ne=1.4864

## Slide 20
Half-wave plate
Optical axis
Input
polarization
Output
polarization
q
q
p

## Slide 21
If linearly polarized light is incident on a quarter-wave plate at 45° to the optical axis, then the light is divided into two equal electric field components.
One of these is retarded by a quarter wavelength by the plate. This produces circularly polarized light. Incident circularly polarized light will be changed to linearly polarized light.
Quarter-wave plate

## Slide 23
Lyot filter.
Passing intensity of a single filter of thickness e:

## Slide 25
Rotating half-wave plate

## Slide 29
Six tuning positions of the HMI instrument on Solar Dynamics Observatory (SDO) are shown here with respect to the Fe I 6173A solar line at disk center and at rest.
During observations the line profile is shifted due to the surface motions and spacecraft orbital velocity (Doppler effect), and also the line split in magnetic field (Zeeman effect). These line changes are used to measure the Doppler velocity and magnetic field strength.

## Slide 30: Helioseismic and Magnetic Imager

## Slide 31: Helioseismic and Magnetic Imager

## Slide 32: Solar Dynamics Observatory
Geostationary orbit for uninterrupted observations of the Sun.
Helioseismic and Magnetic Imager (HMI)
- Full-disk Dopplergrams and magnetograms
Atmospheric Imaging Assembly (AIA)
– Full-disk images of the chromosphere and corona
Extreme Ultraviolet Variability Experiment (EVE)
– EUV solar irradiance

## Slide 33
LASCO C1 coronagraph on SOHO used Fabry-Perot etalon to image the Doppler shift of coronal Fe XVI line

## Slide 34
Visible Imaging Spectrometer
Single Fabry-Pérot etalon (D = 70 mm) plus narrow band interference filterjjjjjj
Wavelength coverage: 550 – 700 nmjjjj
Band pass: 5.8 pmjjjjjjjjjjjjjjjjjjjjjjjjjjjjjjjj
Telecentric optical configurationjjjjjjjjjjjj
Field of view: 70” by 64”jjjjjjjjjjjjjjjjjjjjjjj
Available spectral lines:jjjjjjjjjjjjjjjjjjjjjjjjj
  H (656.3 ± 0.15 nm)jjjjjjjjjjjjj
  Fe I (630.2 ± 0.15 nm)jjjjjjjjjjjjjj
  NaD2 (588.9 ± 0.15 nm)jjjjjjjjjjjj
  more lines coming as needed …
High speed computer with SSD HDsjjjjjjj
Spectroscopy cadence: a 11 points scan with multi-frames selection: < 15 sjjjjjjjj
Notes: 34
VIS replaced VIM

## Slide 35
VIS: H-alpha Observations
Notes: 35
The 1st light observations of VIS on 22May2013 have revealed quite good image quality.
This image was taken in the line center of Ha line.
And this movie illustrates a spectroscopic scan over the Ha line.

## Slide 38
Resonance-scattering spectrometer- GOLF
instrument on SOHO (Global Oscillations at Low Frequencies)
5000 G magnetic field