Leakage Matrices:
Then and Now
Tim Larson
tplarson@sun.stanford.edu
with figures and equations shamelessly lifted from others

---
How I Got Started in Global Helioseismology
Discrepancies with GONG
  - what doesn’t fix them in the remapping:
    - using the correct MDI plate scale, correcting for cubic distortion from the optics, P angle error, Carrington inclination error, and alleged tilt of the CCD
  - what doesn’t fix them in the fitting:
    - improved gapfilling, asymmetric line profiles, accounting for distortion of eigenfunctions by differential rotation and horizontal displacement at the solar surface

---
What is a Leakage Matrix Anyhow?
Global helioseismology pipeline
  - apodize dopplergrams in image radius
  - remap to uniform grid in longitude and sin(latitude)
  - fourier transform in longitude, take inner product in latitude with associated legendre functions
  - form timeseries of resulting spherical harmonic coefficients, detrend and fill gaps
  - fit peaks in the fourier transform of these, taking leaks into account

---
original leakage matrix, m=l

---
x offsets, m=l

---
real to imaginary component, m=l

---
max (bottom) and min (top) observer distance, m=l

---
b angle = 0 (solid) and b angle = 7 (dashed), m=0

---
effect of b angle

---
rotation at 75 deg

---
What’s Next?
Combine leaks from different pixel offsets
Account for cross terms
Convolve with point spread functions
Try different apodizations to get more clues
  - different apodization radii and width
  - elliptical apodization
  - apodize in latitude/longitude rather than image radius